## Test Info
Latency Test Comparison
Store and forward settings
Machine Details |  | OperationalMode | Native
PC | Siemens Simatic Rack PC | WalFileSizeInMb | 10
RAM | 16GB | WalFileDeletionFrequencyInSecs | 10
Processor | Intel Core i7 3.4GHz | FreeStorageSpaceCheckCycleSeconds | 10
Physical Disks | 1.8 TB HDD RAID-1 | WriteRequestBufferReloadThresholdPercentage | 20
|  | MaxMaterializedWriteRequestCount | 500
|  | VolatileModeMaxBufferCount | 36000
|  | DetailedLogs | FALSE
Legend |  | ObsoleteContainerCheckFrequencyInSeconds | 3600
Build Version | With encryption enabled | SegmentValidityInSeconds | 2419200
|  | SnapshotIntervalInSeconds | 0
Build Version | Tests with randomised alarm creation | DvsTimeToLiveCheckFrequencyInSeconds | 30
|  | TagsMaxDvsSize | 1000000000
|  | AlarmsTagsMaxDvsSize | 1000000000
|  | SegmentCreationFrequencyInSeconds | 86400
|  | SegmentSizeInGb | 1

## WriteTestsLTA
Write Latency Test Report
Client Settings
Sampling frequency | 1000 ms
Write Duration | 15 min
Alarms/Sec | 10
% Deviation | 25
TagsDvsTimeRangeInSecs | 300
AlarmsDvsTimeRangeInSecs | 300
DvsMaxTimeToLiveInSeconds | 600
|  | TC_GTV_1000_HLAS_10_Alarms | [13 empty] | TC_GTV_1000_HLAS_10_Tags | [13 empty] | TC_GTV_10000_HLAS_10_Alarms | [11 empty] | TC_GTV_10000_HLAS_10_Tags | [13 empty] | TC_GTV_50000_HLAS_10_Alarms | [11 empty] | TC_GTV_50000_HLAS_10_Tags
|  |  |  | Local Latency |  |  |  | Local Archive |  |  |  | Local LTA Latency |  |  |  | Local Latency |  |  |  | Local Archive |  |  |  | Local LTA Latency | [5 empty] | Local Latency |  |  |  | Local Archive |  |  |  | Local LTA Archive |  |  |  | Local Latency |  |  |  | Local Archive |  |  |  | Local LTA Archive | [5 empty] | Local Latency |  |  |  | Local Archive |  |  |  | Local Archive |  |  |  | Local Latency |  |  |  | Local Archive |  |  |  | Local LTA Archive
Version | Date | Avg RAM | Max RAM | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Avg RAM | Max RAM | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Avg RAM | Max RAM | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75 | Min | Max | Avg | Q75
V19.00.00.00_18.09.00.10 | 2018-08-29 |  |  | 32 | 618 | 122 | 144 | 47 | 624 | 179 | 210 | 30 | 440 | 121 | 147 | 30 | 440 | 121 | 147 | 59 | 527 | 177 | 206 | 30 | 440 | 121 | 147 |  |  | 30 | 823 | 161 | 161 | 53 | 866 | 216 | 224 | 53 | 866 | 216 | 224 | 88 | 587 | 213 | 169 | 107 | 670 | 270 | 174 | 107 | 670 | 270 | 174 |  |  | 107 | 670 | 270 | 174 | 107 | 670 | 270 | 174 | 107 | 670 | 270 | 174 | 59 | 1013 | 270 | 316 | 86 | 1108 | 326 | 385 | 86 | 1108 | 326 | 385
V19.00.00.00_18.09.0022 | 2018-09-19 |  |  | 22 | 428 | 98 | 111 | 54 | 475 | 156 | 184 | 28 | 1379 | 239 | 205 | 28 | 1379 | 239 | 205 | 62 | 1454 | 314 | 280 | 28 | 1379 | 239 | 205 |  |  | 33 | 790 | 129 | 148 | 43 | 875 | 191 | 237 | 43 | 875 | 191 | 237 | 76 | 1379 | 282 | 205 | 108 | 1454 | 357 | 280 | 108 | 1454 | 357 | 280 |  |  | 108 | 1454 | 357 | 280 | 108 | 1454 | 357 | 280 | 108 | 1454 | 357 | 280 | 21 | 860 | 186 | 148 | 28 | 937 | 250 | 237 | 28 | 937 | 250 | 237
V19.00.00.00_18.10.0006 | 2018-09-28 |  |  | 14 | 554 | 127 | 148 | 30 | 605 | 190 | 230 | 19 | 620 | 124 | 151 | 19 | 620 | 124 | 151 | 77 | 656 | 195 | 234 | 19 | 620 | 124 | 151 |  |  | 34 | 745 | 161 | 181 | 44 | 857 | 226 | 266 | 44 | 857 | 226 | 266 | 100 | 620 | 216 | 265 | 138 | 698 | 288 | 342 | 138 | 698 | 288 | 342 |  |  | 138 | 698 | 288 | 342 | 138 | 698 | 288 | 342 | 138 | 698 | 288 | 342 | 52 | 894 | 241 | 181 | 64 | 998 | 313 | 266 | 64 | 998 | 313 | 266
V19.00.00.00_18.10.00.14 | 2018-10-04 |  |  | 11 | 228 | 31 | 31 | 17 | 249 | 87 | 111 | 17 | 188 | 41 | 48 | 17 | 188 | 41 | 48 | 27 | 223 | 97 | 120 | 17 | 188 | 41 | 48 |  |  | 12 | 897 | 59 | 62 | 23 | 975 | 116 | 134 | 23 | 975 | 116 | 134 | 75 | 459 | 128 | 133 | 93 | 552 | 182 | 203 | 93 | 552 | 182 | 203 |  |  | 93 | 552 | 182 | 203 | 93 | 552 | 182 | 203 | 93 | 552 | 182 | 203 | 26 | 617 | 105 | 187 | 45 | 711 | 158 | 223 | 45 | 711 | 158 | 223
V19.00.00.00_18.10.00.14 | 2018-10-09 |  |  | 13 | 197 | 33 | 33 | 18 | 279 | 89 | 112 | 17 | 168 | 43 | 50 | 17 | 168 | 43 | 50 | 27 | 269 | 100 | 124 | 17 | 168 | 43 | 50 |  |  | 13 | 498 | 57 | 65 | 19 | 563 | 112 | 132 | 19 | 563 | 112 | 132 | 78 | 385 | 125 | 135 | 98 | 422 | 182 | 213 | 98 | 422 | 182 | 213 |  |  | 98 | 422 | 182 | 213 | 98 | 422 | 182 | 213 | 98 | 422 | 182 | 213 | 12 | 440 | 80 | 78 | 24 | 528 | 134 | 151 | 24 | 528 | 134 | 151
V19.00.00.00_18.10.00.21 | 2018-10-18 |  |  | 11 | 117 | 25 | 28 | 18 | 194 | 79 | 105 | 15 | 90 | 39 | 46 | 15 | 90 | 39 | 46 | 21 | 172 | 93 | 122 | 15 | 90 | 39 | 46 |  |  | 11 | 104 | 29 | 30 | 18 | 196 | 83 | 110 | 18 | 196 | 83 | 110 | 77 | 308 | 105 | 109 | 93 | 369 | 160 | 185 | 93 | 369 | 160 | 185 |  |  | 93 | 369 | 160 | 185 | 93 | 369 | 160 | 185 | 93 | 369 | 160 | 185 | 13 | 135 | 42 | 70 | 22 | 232 | 96 | 124 | 22 | 232 | 96 | 124
V19.00.00.00_18.11.00.09 | 2018-11-02 |  |  | 10 | 385 | 37.7597 | 47 | 17 | 469 | 93.9831 | 120 | 14 | 358 | 48.8502 | 58 | 14 | 358 | 48.8502 | 58 | 46 | 421 | 118.8261 | 140 | 14 | 358 | 48.8502 | 58 |  |  | 15 | 468 | 78.0575 | 95 | 24 | 525 | 133.8562 | 163 | 24 | 525 | 133.8562 | 163 | 75 | 408 | 152.1425 | 180 | 106 | 514 | 222.4534 | 263 | 106 | 514 | 222.4534 | 263 |  |  | 106 | 514 | 222.4534 | 263 | 106 | 514 | 222.4534 | 263 | 106 | 514 | 222.4534 | 263 | 19 | 531 | 106.5771 | 110 | 31 | 621 | 166.5685 | 183 | 31 | 621 | 166.5685 | 183
V19.00.00.00_18.11.00.20 | 2018-11-21 |  |  | 11 | 238 | 30.2556 | 31 | 16 | 298 | 85.9156 | 111 | 18 | 215 | 39.9382 | 46 | 18 | 215 | 39.9382 | 46 | 31 | 312 | 110.9251 | 140 | 18 | 215 | 39.9382 | 46 |  |  | 10 | 436 | 69.8506 | 89 | 17 | 512 | 125.8708 | 151 | 17 | 512 | 125.8708 | 151 | 79 | 446 | 138.712 | 160 | 92 | 530 | 209.0498 | 233 | 92 | 530 | 209.0498 | 233 |  |  | 92 | 530 | 209.0498 | 233 | 92 | 530 | 209.0498 | 233 | 92 | 530 | 209.0498 | 233 | 16 | 565 | 104.8218 | 106 | 23 | 677 | 160.6972 | 176 | 23 | 677 | 160.6972 | 176
V19.00.00.00_18.12.00.30 | 2018-12-14 |  |  | 10 | 298 | 27.3294 | 28 | 16 | 332 | 82.7654 | 108 | 13 | 292 | 38.8886 | 46 | 13 | 292 | 38.8886 | 46 | 31 | 359 | 108.468 | 140 | 13 | 292 | 38.8886 | 46 |  |  | 11 | 410 | 54.6453 | 60 | 19 | 469 | 112.6898 | 134 | 19 | 469 | 112.6898 | 134 | 75 | 340 | 122.1165 | 126 | 92 | 436 | 191.8089 | 217 | 92 | 436 | 191.8089 | 217 |  |  | 92 | 436 | 191.8089 | 217 | 92 | 436 | 191.8089 | 217 | 92 | 436 | 191.8089 | 217 | 11 | 483 | 84.5815 | 88 | 22 | 583 | 140.4235 | 161 | 22 | 583 | 140.4235 | 161
V19.00.00.00_19.01.00.12 | 2019-01-08 |  |  | 14 | 229 | 35.0312 | 37 | 15 | 262 | 89.7236 | 117 | 18 | 216 | 46.3365 | 53 | 18 | 216 | 46.3365 | 53 | 46 | 296 | 116.1094 | 140 | 18 | 216 | 46.3365 | 53 |  |  | 14 | 609 | 70.418 | 86 | 22 | 685 | 125.3226 | 146 | 22 | 685 | 125.3226 | 146 | 82 | 401 | 136.8306 | 151 | 107 | 514 | 208.4247 | 233 | 107 | 514 | 208.4247 | 233 |  |  | 107 | 514 | 208.4247 | 233 | 107 | 514 | 208.4247 | 233 | 107 | 514 | 208.4247 | 233 | 14 | 715 | 87.0789 | 88 | 24 | 803 | 143.7886 | 166 | 24 | 803 | 143.7886 | 166
V19.00.00.00_19.01.00.20 | 2019-01-18 |  |  | 10 | 214 | 28.9584 | 30 | 16 | 332 | 85.0583 | 112 | 16 | 188 | 40.7776 | 48 | 16 | 188 | 40.7776 | 48 | 31 | 312 | 109.3317 | 140 | 16 | 188 | 40.7776 | 48 |  |  | 11 | 301 | 52.6702 | 61 | 16 | 382 | 108.8717 | 132 | 16 | 382 | 108.8717 | 132 | 79 | 368 | 124.0641 | 131 | 92 | 435 | 195.4228 | 217 | 92 | 435 | 195.4228 | 217 |  |  | 92 | 435 | 195.4228 | 217 | 92 | 435 | 195.4228 | 217 | 92 | 435 | 195.4228 | 217 | 12 | 464 | 69.7686 | 79 | 22 | 519 | 127.5736 | 148 | 22 | 519 | 127.5736 | 148
V19.00.00.00_19.02.00.15 | 2019-01-07 |  |  | 11 | 297 | 43.6151 | 41 | 17 | 330 | 97.4166 | 125 | 17 | 260 | 51.419 | 58 | 17 | 260 | 51.419 | 58 | 46 | 327 | 121.0195 | 140 | 17 | 260 | 51.419 | 58 |  |  | 22 | 542 | 77.0068 | 91 | 26 | 657 | 132.4585 | 153 | 26 | 657 | 132.4585 | 153 | 87 | 431 | 144.9673 | 163 | 106 | 497 | 215.4218 | 246 | 106 | 497 | 215.4218 | 246 |  |  | 106 | 497 | 215.4218 | 246 | 106 | 497 | 215.4218 | 246 | 106 | 497 | 215.4218 | 246 | 19 | 931 | 98.3789 | 99 | 26 | 1011 | 157.2145 | 167 | 26 | 1011 | 157.2145 | 167
V19.00.00.00_19.03.00.10 | 2019-02-22 |  |  | 11 | 268 | 47.5846 | 46 | 0 | 336 | 101.3431 | 125 | 15 | 197 | 54.1654 | 61 | 15 | 197 | 54.1654 | 61 | 31 | 281 | 126.1593 | 156 | 15 | 197 | 54.1654 | 61 |  |  | 17 | 383 | 65.7823 | 76 | 23 | 460 | 119.504 | 138 | 23 | 460 | 119.504 | 138 | 92 | 406 | 140.0444 | 149 | 120 | 433 | 211.0242 | 244 | 120 | 433 | 211.0242 | 244 |  |  | 120 | 433 | 211.0242 | 244 | 120 | 433 | 211.0242 | 244 | 120 | 433 | 211.0242 | 244 | 16 | 2645 | 90.9671 | 91 | 28 | 2723 | 146.8423 | 157 | 28 | 2723 | 146.8423 | 157
V19.00.00.00_19.04.00.07 | 2019-03-15 |  |  | 12 | 251 | 33.9042 | 32 | 21 | 310 | 90.2934 | 117 | 17 | 180 | 44.2707 | 51 | 17 | 180 | 44.2707 | 51 | 31 | 265 | 114.0012 | 140 | 17 | 180 | 44.2707 | 51 |  |  | 11 | 547 | 59.0876 | 62 | 22 | 668 | 114.4754 | 134 | 22 | 668 | 114.4754 | 134 | 80 | 438 | 130.587 | 136 | 93 | 465 | 199.425 | 228 | 93 | 465 | 199.425 | 228 |  |  | 93 | 465 | 199.425 | 228 | 93 | 465 | 199.425 | 228 | 93 | 465 | 199.425 | 228 | 17 | 888 | 80.3102 | 89 | 20 | 910 | 136.9576 | 157 | 20 | 910 | 136.9576 | 157
V19.00.00.00_19.06.00.01 | 2019-04-01 |  |  | 12 | 247 | 29.2773 | 30 | 17 | 331 | 84.078 | 109 | 15 | 376 | 41.3926 | 48 | 15 | 376 | 41.3926 | 48 | 27 | 450 | 97.5822 | 121 | 15 | 376 | 41.3926 | 48 |  |  | 12 | 390 | 57.321 | 63 | 27 | 480 | 113.8587 | 135 | 27 | 480 | 113.8587 | 135 | 75 | 392 | 125.6975 | 133 | 91 | 480 | 194.6394 | 227 | 91 | 480 | 194.6394 | 227 |  |  | 91 | 480 | 194.6394 | 227 | 91 | 480 | 194.6394 | 227 | 91 | 480 | 194.6394 | 227 | 14 | 1982 | 86.0325 | 85 | 0 | 2079 | 142.536 | 158 | 0 | 2079 | 142.536 | 158
V19.00.00.00_19.07.00.18 | 2019-04-19 |  |  | 11 | 289 | 40.1416 | 39 | 23 | 335 | 94.8208 | 122 | 18 | 227 | 48.6719 | 54 | 18 | 227 | 48.6719 | 54 | 31 | 346 | 117.3039 | 140 | 18 | 227 | 48.6719 | 54 |  |  | 12 | 382 | 69.0881 | 84 | 0 | 438 | 123.7453 | 148 | 0 | 438 | 123.7453 | 148 | 78 | 486 | 145.7846 | 163 | 105 | 573 | 216.2805 | 247 | 105 | 573 | 216.2805 | 247 |  |  | 105 | 573 | 216.2805 | 247 | 105 | 573 | 216.2805 | 247 | 105 | 573 | 216.2805 | 247 | 12 | 831 | 87.9686 | 88 | 0 | 906 | 143.7073 | 161 | 0 | 906 | 143.7073 | 161
V19.00.00.00_19.08.00.06 | 2019-05-03 | 70.161 | 97.2891 | 21 | 356 | 57.4348 | 60 | 33 | 421 | 112.9665 | 137 | 28 | 231 | 60.6547 | 74 | 28 | 231 | 60.6547 | 74 | 31 | 296 | 130.7901 | 156 | 28 | 231 | 60.6547 | 74 | 441.5567 | 855.332 | 24 | 536 | 90.5552 | 105 | 32 | 625 | 147.9254 | 173 | 32 | 625 | 147.9254 | 173 | 80 | 365 | 146.5387 | 170 | 105 | 481 | 215.4227 | 247 | 105 | 481 | 215.4227 | 247 | 1495.3955 | 3609.4102 | 105 | 481 | 215.4227 | 247 | 105 | 481 | 215.4227 | 247 | 105 | 481 | 215.4227 | 247 | 21 | 18585 | 152.984 | 119 | 26 | 18610 | 212.4039 | 191 | 26 | 18610 | 212.4039 | 191
V19.00.00.00_19.08.00.06 | 2019-05-06 | 72.7404 | 114.8984 | 14 | 318 | 56.2435 | 61 | 0 | 378 | 110.7304 | 138 | 25 | 211 | 60.6932 | 72 | 25 | 211 | 60.6932 | 72 | 47 | 283 | 131.6584 | 156 | 25 | 211 | 60.6932 | 72 | 450.9048 | 879.1914 | 19 | 601 | 84.2582 | 98 | 0 | 722 | 142.0755 | 167 | 0 | 722 | 142.0755 | 167 | 83 | 420 | 147.2514 | 168 | 106 | 509 | 216.9148 | 247 | 106 | 509 | 216.9148 | 247 | 1485.2118 | 3370.3164 | 106 | 509 | 216.9148 | 247 | 106 | 509 | 216.9148 | 247 | 106 | 509 | 216.9148 | 247 | 20 | 699 | 107.5919 | 109 | 26 | 754 | 165.7723 | 183 | 26 | 754 | 165.7723 | 183
V19.00.00.00_19.08.00.06 | 2019-05-07 | 71.9053 | 115.668 | 17 | 320 | 55.933 | 58 | 35 | 428 | 114.1725 | 140 | 22 | 322 | 59.9156 | 68 | 22 | 322 | 59.9156 | 68 | 47 | 421 | 129.2469 | 156 | 22 | 322 | 59.9156 | 68 | 455.0541 | 847.832 | 19 | 501 | 78.9332 | 92 | 31 | 555 | 134.7067 | 156 | 31 | 555 | 134.7067 | 156 | 81 | 426 | 143.9577 | 163 | 106 | 482 | 214.3765 | 247 | 106 | 482 | 214.3765 | 247 | 1446.3782 | 3536.9219 | 106 | 482 | 214.3765 | 247 | 106 | 482 | 214.3765 | 247 | 106 | 482 | 214.3765 | 247 | 19 | 2334 | 107.1821 | 106 | 0 | 2374 | 164.2294 | 177 | 0 | 2374 | 164.2294 | 177
Average

## Tag_Read_BigQuery
Tag Query Test
Writer Client Settings
Alarms/Sec | 10
Sampling Frequency | 500msec |  |  |  | Avg-R | = Average Response Time
Number of Tags | 100 |  |  |  | Avg-Q | = Average Query Time
% Deviation | 25
% Deviation Read Reverse | 10
[8 empty] | Tag_Read_BigQuery_Forward | [19 empty] | Tag_Read_BigQuery_Reverse
|  |  |  | 1_Tag | [5 empty] | 10_Tag | [5 empty] | 20_Tag | [7 empty] | 1_Tag | [5 empty] | 10_Tag | [5 empty] | 20_Tag
|  |  |  | 180 Min |  | 300 Min |  | 480 Min |  | 180 Min |  | 300 Min |  | 480 Min |  | 180 Min |  | 300 Min |  | 480 Min |  |  |  | 180 Min |  | 300 Min |  | 480 Min |  | 180 Min |  | 300 Min |  | 480 Min |  | 180 Min |  | 300 Min |  | 480 Min
Version | Date | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q
V19.00.00.00_18.09.00.10 | 2018-08-29 |  |  | 58 | 95.8 | 129.4 | 190 | 143.2 | 240.2 | 475.6 | 837 | 749.8 | 1353.8 | 1208 | 2173.4 | 889.4 | 1612.8 | 1467.8 | 2675.4 | 2412.6 | 4346.2
V19.00.00.00_18.09.0022 | 2018-09-19 |  |  | 93.2 | 134.8 | 144.6 | 202 | 206.2 | 298.6 | 666.4 | 1010.6 | 1148.8 | 1724 | 1682.6 | 2604.6 | 1390.6 | 2083 | 2359.8 | 3507.4 | 3611.6 | 5446.4
V19.00.00.00_18.10.0006 | 2018-09-28 |  |  | 77.4 | 115 | 129.8 | 190.6 | 194 | 289.8 | 728.2 | 1084.4 | 1121.6 | 1719.2 | 1753.6 | 2709.6 | 1331.4 | 2045.2 | 2232 | 3421 | 3334.6 | 5244.4
V19.00.00.00_18.10.00.14 | 2018-10-04 |  |  | 281 | 319.6 | 157 | 217 | 264.6 | 365 | 713.2 | 1081 | 1174 | 1781.6 | 1805.2 | 2769.6 | 1435.8 | 2157 | 2261.8 | 3461 | 3634.2 | 5574.4
V19.00.00.00_18.10.00.14 | 2018-10-09 |  |  | 87.8 | 125.4 | 132.8 | 194.4 | 209.4 | 305.8 | 652.8 | 1010.4 | 1058.2 | 1655.4 | 1713.2 | 2665.2 | 1280.6 | 1993.4 | 2133 | 3315.8 | 3359.2 | 5251.6
V19.00.00.00_18.10.00.21 | 2018-10-18 |  |  | 59 | 101.8 | 92.8 | 153 | 150.2 | 248.4 | 408.6 | 763.8 | 701.4 | 1295.4 | 1121.6 | 2074.8 | 805.4 | 1518.4 | 1371.8 | 2558.6 | 2161.4 | 4059
V19.00.00.00_18.11.00.09 | 2018-11-02 |  |  | 89.2 | 128.6 | 137 | 203.6 | 186 | 282.8 | 481.6 | 852.8 | 942.6 | 1535.6 | 1210.4 | 2164.6 | 993.4 | 1681.2 | 1551.6 | 2698 | 2374.2 | 4221.4 | [20 empty] | Fast write is now executed with 60 min. of DVS time range.
V19.00.00.00_18.11.00.20 | 2018-11-21 |  |  | 94.8 | 133.8 | 104.2 | 167.4 | 154.8 | 256 | 501.6 | 864.2 | 798.2 | 1393.8 | 1249.2 | 2208 | 906.4 | 1617.6 | 1541.6 | 2724.2 | 2348.2 | 4235.8
V19.00.00.00_18.12.00.30 | 2018-12-14 |  |  | 67.4 | 106.4 | 107.6 | 168.2 | 169 | 264.8 | 428.2 | 783.8 | 785 | 1381.2 | 1197.2 | 2151 | 999.6 | 1709.2 | 1644.6 | 2827.4 | 2239.6 | 4134.8
V19.00.00.00_19.01.00.12 | 2019-01-08 |  |  | 62 | 99.8 | 111.8 | 172.8 | 192.2 | 291 | 423 | 786.2 | 782.4 | 1384.8 | 1203.2 | 2165.4 | 980.2 | 1695.4 | 1604 | 2796.4 | 2273.8 | 4176
V19.00.00.00_19.01.00.20 | 2019-01-18 |  |  | 87 | 126.2 | 108.4 | 169.2 | 192 | 290.6 | 509 | 873.6 | 859.2 | 1474 | 1261.6 | 2227.2 | 1024.2 | 1739.2 | 1589 | 2815 | 2457.4 | 4398.6
V19.00.00.00_19.02.00.15 | 2019-01-07 |  |  | 80.8 | 121.6 | 91.8 | 152.4 | 177 | 277 | 480.4 | 839.6 | 878.8 | 1471.4 | 1343 | 2297.6 | 885.8 | 1600.6 | 1436.4 | 2625.2 | 2619.8 | 4505.8 |  |  | 146.6 | 183.4 | 93.6 | 152.6 | 140 | 237.2 | 569.4 | 919.6 | 794.8 | 1380.4 | 1363.8 | 2303.6 | 993.2 | 1697.4 | 1462 | 2635.2 | 2431.6 | 4313.4
V19.00.00.00_19.03.00.10 | 2019-02-22 |  |  | 71 | 108.8 | 125.8 | 188.2 | 162 | 258 | 465.6 | 822.2 | 804.2 | 1399 | 1228.8 | 2184.2 | 1028.4 | 1739.6 | 1485.4 | 2665 | 2459 | 4355.6 |  |  | 168 | 205.2 | 88.8 | 149.2 | 195.2 | 290.2 | 440.8 | 793.2 | 769.4 | 1358.2 | 1269.8 | 2219 | 996 | 1705.4 | 1615.8 | 2799.2 | 2504.6 | 4403.4
V19.00.00.00_19.04.00.07 | 2019-03-15 |  |  | 85 | 122.4 | 111.4 | 172.4 | 151 | 254 | 445.8 | 811 | 828.8 | 1430.6 | 1307.6 | 2271.6 | 1033.4 | 1750.4 | 1639.8 | 2828.4 | 2480.4 | 4396 |  |  | 165.8 | 202.8 | 93.4 | 153.8 | 169.4 | 265.6 | 451 | 804.8 | 741.6 | 1336.6 | 1200.2 | 2151.4 | 987.6 | 1710.4 | 1521.8 | 2712.4 | 2510.4 | 4426.2
V19.00.00.00_19.06.00.01 | 2019-04-01 |  |  | 63.8 | 101.2 | 111.2 | 174.2 | 170.6 | 267.8 | 435.2 | 795.6 | 806.4 | 1402 | 1301.2 | 2253.2 | 987 | 1701.4 | 1532.6 | 2717 | 2491.6 | 4403.6 |  |  | 56.6 | 93.6 | 85.4 | 145.2 | 137.2 | 232.2 | 594.8 | 951.4 | 725.8 | 1316.8 | 1307.8 | 2251.8 | 941.6 | 1657.6 | 1473.4 | 2672 | 2556 | 4458.2
V19.00.00.00_19.07.00.18 | 2019-04-19 |  |  | 149.2 | 186.8 | 87.6 | 152 | 201.6 | 298.4 | 461.2 | 842.2 | 779.4 | 1397 | 1286.4 | 2285 | 1080.4 | 1810.2 | 1565.4 | 2794 | 2536.2 | 4536 |  |  | 73.2 | 111.2 | 112.6 | 174.8 | 172.2 | 278.4 | 569.6 | 946.4 | 906.6 | 1531.4 | 1344.4 | 2333 | 1090 | 1832.6 | 1670.6 | 2890.2 | 2864.2 | 4852.4
V19.00.00.00_19.08.00.06 | 2019-05-03 | 641.3694 | 1592.0195 | 65.6 | 106.2 | 101.4 | 173.6 | 207.8 | 336.8 | 555 | 960.8 | 809.6 | 1470.8 | 1182.8 | 2255.6 | 947 | 1775.2 | 1563.6 | 2922 | 2391.6 | 4534.2 | 466.2727 | 908.4297 | 71.4 | 116.4 | 113 | 188.6 | 154 | 272.6 | 434 | 845.8 | 748.6 | 1439 | 1104.4 | 2190 | 998.4 | 1811.8 | 1454.4 | 2792.2 | 2454.4 | 4588.4
V19.00.00.00_19.08.00.06 | 2019-05-06 | 605.4477 | 1760.2266 | 54 | 93.6 | 88.6 | 152.2 | 252.2 | 371 | 431.4 | 809.8 | 767.2 | 1401.4 | 1118.2 | 2134 | 917 | 1673.8 | 1437.4 | 2698.8 | 2544.4 | 4566.6 | 457.1843 | 737.5078 | 60 | 99.2 | 95.6 | 160.4 | 149.4 | 260.4 | 415.4 | 795 | 723.6 | 1357.2 | 1093.8 | 2121 | 850.4 | 1608.2 | 1396.6 | 2657.6 | 2424.2 | 4447.6
V19.00.00.00_19.08.00.06 | 2019-05-07 | 581.3667 | 1551.0781 | 55.4 | 97.6 | 88.4 | 151.2 | 222 | 324 | 418.8 | 797 | 699 | 1329.8 | 1166 | 2171.6 | 902.8 | 1658.4 | 1446.2 | 2704.6 | 2442.8 | 4465.2 | 456.9559 | 844.6523 | 73 | 111.2 | 89.6 | 161 | 125 | 241.2 | 457.2 | 835 | 737.2 | 1370.6 | 1186 | 2203.2 | 857.2 | 1613.4 | 1523.4 | 2786.4 | 2410.6 | 4431.8
V19.00.00.00_19.02.00.15 | 2019-05-29 | 0 | 0 | 14.6 | 102.2 | 12 | 164.2 | 12.4 | 261 | 1834.4 | 3018.4 | 2568.2 | 4584.2 | 2049.6 | 6587.6 | 1571 | 3601 | 2407 | 7510 | 4435.4 | 12833.8 | 0 | 0 | 14.2 | 104.2 | 14.2 | 166.4 | 11.8 | 260.2 | 1692.8 | 2839 | 2233.4 | 4208.4 | 2305 | 6344.6 | 1776 | 3957 | 2258.6 | 7617.6 | 4379 | 12504.4
[22 empty] | 0 | 0 | 14.6 | 103.6 | 12.4 | 165.8 | 11.8 | 260.4 | 1774.6 | 2952 | 2426.6 | 4432 | 1817.8 | 6459.2 | 1562.6 | 3786 | 2369.6 | 7727.4 | 4644.8 | 12992.6
Forward Query Average
Reverse Query Average

## Tag_Read_SmallQuery
Tag Query Test
Writer Client Settings
Alarms/Sec | 10
Sampling Frequency | 500msec |  |  |  | Avg-R | = Average Response Time
Number of Tags | 100 |  |  |  | Avg-Q | = Average Query Time
% Deviation | 25
% Deviation Read Reverse | 10
[19 empty] | Tag_Read_Small_Query_Forward | [111 empty] | Tag_Read_Small_Query_Reverse
|  |  |  | 1_Tag | [9 empty] | 10_Tag | [9 empty] | 20_Tag | [9 empty] | 30_Tag | [9 empty] | 40_Tag | [9 empty] | 50_Tag | [9 empty] | 60_Tag | [9 empty] | 70_Tag | [9 empty] | 80_Tag | [9 empty] | 90_Tag | [9 empty] | 100_Tag | [11 empty] | 1_Tag | [9 empty] | 10_Tag | [9 empty] | 20_Tag | [9 empty] | 30_Tag | [9 empty] | 40_Tag | [9 empty] | 50_Tag | [9 empty] | 60_Tag | [9 empty] | 70_Tag | [9 empty] | 80_Tag | [9 empty] | 90_Tag | [9 empty] | 100_Tag
|  |  |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  |  |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min
Version | Date | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q
V19.00.00.00_18.09.00.10 | 2018-08-29 |  |  | 6.4 | 7.2 | 4.8 | 5.6 | 5.8 | 8.6 | 14.6 | 27 | 33.8 | 58.6 | 24.6 | 27.4 | 86.6 | 96.4 | 53 | 83.4 | 165.4 | 283.8 | 318.4 | 556.6 | 59.8 | 63.2 | 124.8 | 145 | 90.8 | 150 | 350.8 | 589.4 | 642.2 | 1117.4 | 68.8 | 75 | 130.4 | 160.2 | 214.6 | 304 | 501.2 | 860.8 | 860.2 | 1580.8 | 94.4 | 102.6 | 228 | 268 | 228.2 | 348 | 665.8 | 1146.2 | 1171.2 | 2129.8 | 136.8 | 146.8 | 143.8 | 194.8 | 377 | 528 | 827 | 1426.8 | 1506.6 | 2706.2 | 140.4 | 152 | 175.8 | 236.8 | 450.2 | 630.8 | 942.2 | 1661.4 | 1763.4 | 3198.8 | 152.4 | 167 | 302.8 | 373.6 | 492.6 | 702.4 | 1126.6 | 1965.2 | 2142.2 | 3821.2 | 129.6 | 145.4 | 255.6 | 336 | 474.6 | 717 | 1293.6 | 2251.4 | 2550 | 4466.8 | 347.4 | 365.2 | 368.6 | 458.6 | 536.2 | 807.2 | 1504.6 | 2590 | 2710.8 | 4875.8 | 221.4 | 241.4 | 432.2 | 533 | 737.6 | 1038.8 | 1515.6 | 2717.4 | 3031.8 | 5440.8
V19.00.00.00_18.09.0022 | 2018-09-19 |  |  | 4.2 | 5.6 | 4 | 5 | 7.8 | 10.6 | 22.8 | 34.4 | 48.2 | 71.2 | 11.6 | 13.8 | 24.8 | 34.4 | 56.8 | 85.4 | 216.4 | 331.4 | 504.8 | 734.2 | 22.8 | 26.8 | 52.6 | 72.2 | 116.4 | 173 | 551.6 | 780.6 | 973.4 | 1441.2 | 55.8 | 61.4 | 90.4 | 118.6 | 209.8 | 295.2 | 735.8 | 1083.2 | 1356 | 2045.2 | 40.2 | 47.6 | 95.6 | 133.8 | 268.6 | 383.8 | 911.8 | 1381.6 | 1771 | 2697.8 | 51 | 60.4 | 166.4 | 214.6 | 306.6 | 450.6 | 1145 | 1718.2 | 2143.8 | 3289.6 | 64 | 75.6 | 144.2 | 200.6 | 341.4 | 510.8 | 1407.8 | 2096.2 | 2598.8 | 3972.8 | 71.4 | 85.2 | 182.2 | 249.6 | 481.4 | 681.4 | 1541.2 | 2346 | 3131.4 | 4741.8 | 108 | 124 | 205 | 281.8 | 550.6 | 779.8 | 1770.6 | 2688.8 | 3529.8 | 5368.6 | 94.2 | 111.4 | 210.2 | 298.2 | 516.8 | 774.4 | 2198.2 | 3230.6 | 4055.8 | 6116.2 | 106.8 | 126.4 | 251.2 | 347.4 | 653.8 | 940.2 | 2265.8 | 3409.2 | 4421.2 | 6710.4
V19.00.00.00_18.10.0006 | 2018-09-28 |  |  | 4 | 4.8 | 2 | 2.4 | 6.6 | 9.6 | 13.4 | 26.2 | 35.6 | 63.2 | 7 | 9.4 | 62 | 72.4 | 34.6 | 66.2 | 183.2 | 302.2 | 315 | 553.2 | 14 | 18.2 | 26 | 46.6 | 85.4 | 145 | 341.6 | 577.8 | 599.2 | 1077.4 | 12.8 | 18.8 | 80.2 | 110.2 | 138.8 | 230 | 513 | 872.8 | 921.6 | 1640 | 24.4 | 32.4 | 51.2 | 91.2 | 150.4 | 272.8 | 607 | 1084.4 | 1153 | 2104.4 | 30.6 | 40.6 | 64.6 | 116 | 185.6 | 337.6 | 733.8 | 1328.6 | 1532.2 | 2720 | 37.6 | 49.8 | 73.8 | 134.2 | 270.2 | 449.2 | 933.4 | 1646 | 1822.6 | 3249.4 | 41 | 55.2 | 84.2 | 155.2 | 230 | 441 | 1021.2 | 1857.6 | 2171.4 | 3837.4 | 35.4 | 51.4 | 103.8 | 183.2 | 427.6 | 666.6 | 1515.4 | 2474.2 | 2380.8 | 4285.4 | 34.8 | 53.2 | 110.2 | 199.8 | 416.8 | 691.2 | 1410.4 | 2478.8 | 2640.8 | 4775.2 | 60.2 | 80.8 | 124.2 | 224.4 | 429.4 | 725.6 | 1677.8 | 2863.2 | 2979.6 | 5347
V19.00.00.00_18.10.00.14 | 2018-10-04 |  |  | 4.4 | 5.2 | 3.4 | 4.4 | 6.8 | 9.6 | 23.4 | 35.8 | 52.2 | 77.2 | 13.2 | 15.4 | 25.4 | 36 | 62 | 92.6 | 214 | 338 | 484.6 | 726 | 53 | 57 | 51 | 71.8 | 135.2 | 195.6 | 445.8 | 689.8 | 1011 | 1497.4 | 35.2 | 41.2 | 76.4 | 106.6 | 199 | 290.4 | 680.2 | 1043.4 | 1329.6 | 2049.2 | 42.8 | 51.2 | 100 | 140.8 | 240.8 | 361.4 | 925.8 | 1408.2 | 1826.6 | 2789 | 55.4 | 65.2 | 127.2 | 178.2 | 294.6 | 445.8 | 1252.6 | 1855.8 | 2233.8 | 3432.8 | 66.8 | 78.8 | 195.8 | 256.4 | 383.2 | 568.8 | 1399.2 | 2123.4 | 2697.2 | 4143.6 | 79.8 | 94.2 | 180.2 | 250.4 | 568 | 786.8 | 1618.4 | 2464.2 | 3100.4 | 4783.4 | 91.8 | 107.8 | 205.6 | 286 | 528.2 | 770.6 | 1896.8 | 2867.8 | 3613.2 | 5562 | 171.8 | 189.8 | 226.4 | 316.4 | 529.8 | 801 | 2189 | 3270.4 | 4000.8 | 6162.2 | 112.2 | 132.2 | 251.8 | 352.6 | 661.4 | 971.2 | 2376.4 | 3577.4 | 4284.8 | 6680.2
V19.00.00.00_18.10.00.14 | 2018-10-09 |  |  | 4.8 | 5 | 19.6 | 20.6 | 6.8 | 9.6 | 21 | 34 | 47.8 | 72.4 | 11.4 | 14.2 | 23.8 | 33.8 | 57 | 89.6 | 242 | 360.6 | 464.2 | 698.2 | 21.4 | 25.4 | 56.2 | 77 | 126 | 184.8 | 448.4 | 684.6 | 871.4 | 1346 | 54.4 | 60.4 | 85.4 | 115.6 | 192 | 281.8 | 661.6 | 1017 | 1273.2 | 1986.6 | 50.4 | 58.4 | 104 | 143.8 | 255.6 | 374.2 | 894.8 | 1371.4 | 1711.4 | 2657.8 | 46.8 | 56.8 | 136.4 | 186.6 | 304.6 | 453.6 | 1106.2 | 1698 | 2093.4 | 3276.4 | 63 | 74.8 | 143.8 | 202.8 | 396.4 | 572.2 | 1268.8 | 1975 | 2555 | 3976 | 125.2 | 139.2 | 178 | 248.4 | 420.2 | 627.8 | 1546.2 | 2376.8 | 2960.2 | 4619.4 | 140.4 | 156 | 211.4 | 293 | 492 | 730.6 | 1749.8 | 2696.8 | 3342.4 | 5236 | 158 | 175.8 | 236.4 | 326 | 542.2 | 809.6 | 1926.6 | 2993.2 | 3836.8 | 5966 | 93.4 | 113.4 | 235 | 334.2 | 608.8 | 906 | 2234.2 | 3418.2 | 4260 | 6627.2
V19.00.00.00_18.10.00.21 | 2018-10-18 |  |  | 6 | 6.6 | 5 | 5.8 | 4.4 | 7.2 | 14.8 | 27.6 | 34.8 | 59.8 | 29.8 | 32 | 18 | 28.4 | 37.2 | 67.6 | 194.2 | 312.8 | 297.4 | 533.2 | 48 | 52 | 62.4 | 82.6 | 151 | 210 | 293 | 528.6 | 548.8 | 1029.4 | 88.6 | 95 | 114.4 | 144.2 | 124.6 | 214.8 | 445.2 | 803.8 | 831.4 | 1548 | 67.2 | 75.4 | 97 | 137.6 | 328.2 | 448.8 | 618.8 | 1101.2 | 1157 | 2117.6 | 124 | 134.6 | 190.2 | 240.6 | 262 | 410.4 | 673.8 | 1269.2 | 1459.6 | 2659 | 159.2 | 170.6 | 195.4 | 255.6 | 312.4 | 493.8 | 859.8 | 1580.4 | 1642.2 | 3079.8 | 226.4 | 241.2 | 140.8 | 211.8 | 405.8 | 616.4 | 1111 | 1953.6 | 1958.8 | 3645.4 | 188.8 | 205 | 192 | 272.4 | 384.8 | 625.6 | 1209 | 2168.4 | 2158 | 4076 | 349.4 | 367.8 | 360.6 | 451 | 374.8 | 643.6 | 1328.8 | 2402.8 | 2550.6 | 4698 | 243.2 | 264 | 277.2 | 377.8 | 557.2 | 868.8 | 1615.6 | 2810.2 | 2766.8 | 5147.8
V19.00.00.00_18.11.00.09 | 2018-11-02 |  |  | 4.4 | 4.6 | 4 | 4.8 | 4.6 | 7.8 | 14.4 | 25.4 | 36.2 | 59.6 | 31.6 | 33.8 | 92.4 | 101.4 | 65.4 | 94.6 | 178.2 | 292 | 332.4 | 558 | 26.6 | 30.4 | 84.6 | 105.8 | 146.2 | 206.4 | 308.2 | 534.6 | 614.8 | 1071.6 | 94.4 | 100 | 91.4 | 119.6 | 192.8 | 278.6 | 451.4 | 794.6 | 858.4 | 1543.8 | 57.2 | 65 | 99.8 | 137.8 | 168 | 285 | 659.4 | 1117.2 | 1211 | 2123.4 | 93 | 102.6 | 185.4 | 233 | 341.6 | 485 | 846.2 | 1416.8 | 1612.8 | 2754.6 | 179.6 | 191.2 | 187.2 | 245 | 307.6 | 480.2 | 1068.6 | 1752.8 | 1861.8 | 3231 | 136.4 | 150 | 398.2 | 465.2 | 677.8 | 879 | 1091.6 | 1891.2 | 1953.6 | 3548.2 | 269.8 | 285.2 | 318.2 | 395.4 | 442.2 | 670.8 | 1155 | 2070.4 | 2243.8 | 4114.8 | 248.4 | 265.4 | 208.6 | 294.2 | 582.2 | 842.6 | 1503.4 | 2530.4 | 2636 | 4694.6 | 342.6 | 362 | 513.2 | 609.6 | 589.2 | 879 | 1587.6 | 2732 | 2856.6 | 5153 | [112 empty] | Fast write is with 60 min. of DVS time range.
V19.00.00.00_18.11.00.20 | 2018-11-21 |  |  | 6.4 | 6.8 | 4 | 4.8 | 6 | 8.8 | 15.2 | 26.8 | 34.8 | 58.6 | 32.8 | 35 | 70.6 | 80.6 | 41 | 70.8 | 186.8 | 304 | 302.6 | 539.2 | 25.6 | 29.2 | 87.8 | 107.8 | 113.8 | 173.4 | 291.6 | 527 | 574.2 | 1048.4 | 71.8 | 78 | 87.6 | 117 | 131.4 | 221 | 399.8 | 755.2 | 837 | 1547.2 | 130.2 | 138.2 | 175.4 | 216 | 244.8 | 364.4 | 581.6 | 1055.8 | 1153.2 | 2101 | 86.2 | 96.4 | 298 | 347.2 | 290.8 | 439.8 | 796.4 | 1384.6 | 1465.8 | 2649 | 232.8 | 244.8 | 350.6 | 413 | 337.6 | 515.8 | 974.8 | 1684.4 | 1727.8 | 3148.6 | 358.8 | 373.2 | 372 | 442.4 | 436.4 | 646.6 | 1068 | 1903.8 | 2025.2 | 3683.6 | 264 | 279.8 | 148.4 | 229.2 | 395 | 641.8 | 1441.8 | 2392.6 | 2274.2 | 4177.4 | 319.6 | 338 | 444.8 | 535.8 | 832 | 1099.6 | 1361.4 | 2425.8 | 2480.8 | 4607.6 | 158.4 | 178.4 | 428.6 | 529 | 915.6 | 1213.8 | 1666.4 | 2848.2 | 2925 | 5286.6
V19.00.00.00_18.12.00.30 | 2018-12-14 |  |  | 8.8 | 9.6 | 2.4 | 3.4 | 9 | 12.2 | 15.2 | 27.6 | 25.8 | 55.6 | 29.2 | 31.4 | 87.2 | 97.4 | 43.6 | 73 | 179.6 | 296 | 396.2 | 628.8 | 66.2 | 70.2 | 89.8 | 109.8 | 139.2 | 198.4 | 308 | 542 | 622.4 | 1093.2 | 91.6 | 97.4 | 119.2 | 148.8 | 222 | 309.8 | 423.4 | 774 | 870 | 1573 | 44.6 | 53 | 166.2 | 206 | 280 | 397.6 | 658 | 1127.8 | 1072.8 | 2014.2 | 232.8 | 242.6 | 166.2 | 219 | 223.4 | 372.6 | 704.2 | 1292.6 | 1561 | 2734.8 | 196.4 | 208.2 | 227 | 286.6 | 352.6 | 531.4 | 1022.8 | 1726.6 | 1729.6 | 3138 | 446.4 | 460.8 | 339.4 | 408.4 | 647.4 | 857 | 1250.4 | 2074.4 | 2148.6 | 3797 | 203.4 | 220 | 431.8 | 511 | 443.4 | 686.2 | 1336 | 2277.8 | 2290.8 | 4172.8 | 163.2 | 181.4 | 255.8 | 345 | 822.2 | 1087.2 | 1440.6 | 2498 | 2608.2 | 4723.8 | 225.6 | 245.6 | 316.6 | 415.6 | 799 | 1094.8 | 1656.8 | 2832.4 | 3059.6 | 5410
V19.00.00.00_19.01.00.12 | 2019-01-08 |  |  | 9.2 | 9.4 | 3 | 3.6 | 10.6 | 13.4 | 14.8 | 26.8 | 36 | 60.4 | 21.6 | 24 | 46 | 56.2 | 103.8 | 134 | 181.4 | 299.4 | 282 | 516.2 | 40.2 | 44 | 61.6 | 81.8 | 151.6 | 210.2 | 307 | 541.8 | 587.4 | 1060.4 | 65.2 | 71 | 176.6 | 206.4 | 201 | 290.8 | 427.4 | 782.6 | 837.2 | 1544.8 | 65.4 | 73.6 | 130.4 | 171 | 364.4 | 488.2 | 588 | 1062.6 | 1153.4 | 2100.2 | 132.8 | 142.8 | 206.6 | 256.6 | 430.6 | 579.4 | 800.4 | 1391.4 | 1433.8 | 2617 | 208.8 | 221 | 291.4 | 352.4 | 557.6 | 737.8 | 945 | 1654.8 | 1854.2 | 3273.8 | 173.4 | 187 | 312.6 | 382.2 | 508.6 | 721.8 | 1244.6 | 2075.8 | 2029.6 | 3686 | 327 | 343 | 457.8 | 538 | 579.4 | 817.2 | 1361.6 | 2309.8 | 2324.4 | 4222.6 | 302.8 | 320.4 | 409.2 | 499.8 | 550.8 | 818.8 | 1406.8 | 2470 | 2732.2 | 4858.4 | 370.4 | 391 | 548.8 | 649.2 | 543.8 | 841.8 | 1617.4 | 2798.4 | 3000 | 5362.4
V19.00.00.00_19.01.00.20 | 2019-01-18 |  |  | 10.4 | 10.8 | 8.2 | 9.2 | 8.8 | 12.4 | 17.2 | 31.2 | 33 | 58 | 41.2 | 43.2 | 32.6 | 43 | 106.6 | 137.8 | 171.8 | 295.8 | 289 | 532.4 | 31 | 34.8 | 63.8 | 84.4 | 118.2 | 178.4 | 304.4 | 553.2 | 561.6 | 1045.6 | 88 | 94 | 79.6 | 109.2 | 216.6 | 306.2 | 466.2 | 826.8 | 836.4 | 1553 | 79.8 | 87.8 | 145.4 | 185.6 | 262.4 | 384 | 668.8 | 1145.4 | 1144.6 | 2100 | 131.6 | 141.8 | 211 | 260.6 | 302.8 | 452.4 | 787 | 1389.2 | 1431.8 | 2626.4 | 273.4 | 285 | 211.2 | 271 | 336.2 | 516 | 965.8 | 1693.8 | 1722.8 | 3168.8 | 349.6 | 365.6 | 369.8 | 443.8 | 571.6 | 785.6 | 1252.6 | 2104.6 | 2142 | 3830.2 | 317.2 | 335.2 | 327.4 | 409 | 512 | 754 | 1315.4 | 2276 | 2383.2 | 4304.4 | 123 | 141.2 | 421.6 | 511.4 | 583.4 | 856 | 1516 | 2596.2 | 2968 | 5113.6 | 243.6 | 263.8 | 297.4 | 397.4 | 613.2 | 914.6 | 1714.8 | 2909.6 | 3086.4 | 5474.8
V19.00.00.00_19.02.00.15 | 2019-01-07 |  |  | 6.2 | 6.4 | 3.8 | 4.8 | 7.6 | 10.6 | 14.8 | 26.6 | 35 | 58.8 | 16.2 | 18.4 | 41.4 | 51 | 105.2 | 135 | 172.4 | 291 | 328.4 | 563.2 | 47.6 | 51.6 | 106.6 | 126.8 | 104.4 | 163.4 | 347.2 | 581.6 | 602.6 | 1072.4 | 133 | 139 | 98.8 | 128.2 | 156.2 | 245.8 | 537.8 | 893.8 | 901.2 | 1604.6 | 98.4 | 106.4 | 191 | 230.4 | 261.8 | 380.4 | 698.4 | 1169.2 | 1240.8 | 2183 | 72.8 | 82.6 | 143.8 | 193.4 | 315 | 462.8 | 962 | 1552.2 | 1599.8 | 2774.8 | 77 | 88.8 | 220 | 279.8 | 522 | 700.6 | 930.6 | 1637.2 | 1852.6 | 3262.4 | 463.4 | 477.4 | 452.4 | 523 | 755.4 | 962 | 1233.4 | 2056.6 | 2155.6 | 3802.8 | 274.6 | 290.2 | 482 | 562.6 | 554.8 | 791.4 | 1401.6 | 2342.8 | 2656.8 | 4538.8 | 735.2 | 753.2 | 511.8 | 601 | 483.8 | 754.4 | 1387.6 | 2446.6 | 2993.2 | 5106.8 | 164.4 | 184.6 | 484.2 | 590.2 | 563 | 856.8 | 1723.2 | 2897 | 3200.6 | 5549.4 |  |  | 14.8 | 15 | 19.6 | 20.4 | 11.2 | 14.4 | 15.4 | 28 | 32.8 | 57.8 | 20.2 | 22.2 | 30.8 | 41.8 | 128.8 | 160.4 | 221.6 | 351 | 383.2 | 636.8 | 54.8 | 59.2 | 94 | 114.6 | 143.8 | 206.2 | 379 | 631.4 | 678.8 | 1174 | 56.4 | 62.6 | 183.8 | 218.2 | 362.4 | 456.2 | 536 | 912.4 | 907.6 | 1652 | 139.4 | 148 | 258.2 | 300 | 448.6 | 578.6 | 784.6 | 1284.2 | 1359.8 | 2357.4 | 271.8 | 283 | 232.4 | 285.6 | 595.8 | 764.6 | 902.4 | 1525.8 | 1691.6 | 2935.8 | 148.6 | 163.8 | 363 | 426.4 | 457.6 | 650.4 | 974 | 1721.2 | 1994.8 | 3490.2 | 200.8 | 215.8 | 392 | 465.2 | 526.4 | 745.8 | 1224.2 | 2095.6 | 2364.4 | 4116.4 | 255.8 | 272.4 | 380.6 | 464.6 | 492.2 | 741.2 | 1354.6 | 2353.6 | 2589.8 | 4589.8 | 444.4 | 466.6 | 499.6 | 593.2 | 661 | 942 | 1674.4 | 2790.8 | 2935.4 | 5168.6 | 485.6 | 507.4 | 639.8 | 747.4 | 605.2 | 918.4 | 1721.2 | 2962 | 3234.8 | 5718.4
V19.00.00.00_19.03.00.10 | 2019-02-22 |  |  | 6.2 | 6.4 | 4.2 | 5.2 | 11.4 | 14.6 | 15.6 | 27.4 | 34.6 | 58.6 | 37.6 | 39.6 | 88.2 | 98.4 | 51.4 | 81.4 | 206.6 | 326.2 | 300.6 | 542.4 | 98 | 102 | 80.4 | 99.8 | 140.2 | 198.8 | 329 | 567.4 | 599.8 | 1072.6 | 106.8 | 113 | 123 | 152.6 | 221 | 309.2 | 454.4 | 809.8 | 904.6 | 1621.4 | 118.6 | 126.8 | 136.2 | 175.6 | 237.6 | 356.6 | 673.8 | 1147.4 | 1170.6 | 2126 | 108.8 | 118.8 | 122.8 | 172.6 | 315.4 | 463.2 | 954 | 1546.2 | 1620.2 | 2802.8 | 69.4 | 81.2 | 290.6 | 350.4 | 453.2 | 631.6 | 871.6 | 1582 | 1968.6 | 3397.8 | 301.4 | 315.4 | 427.8 | 498.4 | 466.4 | 680.8 | 1247.2 | 2087 | 2260.4 | 3922.8 | 249.8 | 265.4 | 453 | 537.8 | 502 | 741 | 1356.2 | 2308 | 2416 | 4330.8 | 396 | 414.6 | 664.2 | 755.8 | 564.4 | 833.6 | 1602.4 | 2675.4 | 2846 | 4987.4 | 240.8 | 260.6 | 494 | 595.4 | 717.8 | 1013.8 | 1697.8 | 2886.2 | 3177 | 5563.4 |  |  | 5.2 | 5.4 | 6 | 6.8 | 5 | 8.2 | 17 | 29 | 36.4 | 60.6 | 46.6 | 48.6 | 70 | 80.2 | 62 | 92.8 | 187.4 | 305.8 | 352.2 | 587.8 | 85.6 | 89 | 84.8 | 104.4 | 132.4 | 190.8 | 388.4 | 625.6 | 633 | 1106.6 | 151.6 | 157.2 | 75.6 | 105.2 | 155.2 | 243.4 | 463.2 | 817.4 | 893.4 | 1600.8 | 135.4 | 143.2 | 154.4 | 193.8 | 169.4 | 287.6 | 636 | 1107.8 | 1274.8 | 2220.4 | 142.4 | 152 | 289.8 | 342.4 | 371 | 518.2 | 803.4 | 1397.8 | 1679.4 | 2863.2 | 144.6 | 156.6 | 268.4 | 328.6 | 447 | 625.8 | 1066.6 | 1778.4 | 1885 | 3309 | 678.2 | 692.4 | 355.4 | 424.4 | 929.2 | 1136.4 | 1224.2 | 2059.8 | 2210.4 | 3860 | 327.2 | 343.4 | 422.4 | 502.2 | 901.2 | 1138.2 | 1417.2 | 2371.4 | 2570.2 | 4478.4 | 238.8 | 256.4 | 344.6 | 435.6 | 514.2 | 781 | 1657.4 | 2724 | 2823 | 4957.8 | 212.4 | 232 | 279.8 | 378.4 | 572.6 | 869.2 | 1628.6 | 2807.2 | 3115 | 5489.8
V19.00.00.00_19.04.00.07 | 2019-03-15 |  |  | 6.2 | 6.8 | 5 | 5.8 | 9 | 12.2 | 14.8 | 27.8 | 37.6 | 61.6 | 28.6 | 30.6 | 82.8 | 92.6 | 67 | 97 | 166.8 | 286 | 318.6 | 556.2 | 84.6 | 88.4 | 62.6 | 82.8 | 96 | 159.4 | 354.6 | 591.6 | 598.2 | 1075.8 | 178.4 | 184.4 | 67.6 | 98.6 | 207 | 297 | 495.2 | 853.8 | 925.6 | 1640 | 95.2 | 103.2 | 151.2 | 194.2 | 257.8 | 378.4 | 742.6 | 1222.8 | 1207.4 | 2159.4 | 238 | 248 | 216 | 266.2 | 368.6 | 519.2 | 797.8 | 1395.4 | 1582 | 2769.2 | 263.2 | 275.2 | 333.4 | 395 | 454.4 | 633 | 1038.8 | 1752.8 | 1962.8 | 3388 | 160.8 | 174.6 | 235 | 307.2 | 821.2 | 1034.2 | 1245 | 2079.2 | 2337.4 | 4015.8 | 157.2 | 173.8 | 488.8 | 572.8 | 864.8 | 1102.8 | 1338 | 2292.2 | 2353.6 | 4259.6 | 254.6 | 272.6 | 524.4 | 615.2 | 560.2 | 835.2 | 1572 | 2641.4 | 2849.8 | 5004.4 | 225.4 | 246.4 | 431.4 | 531.8 | 900.4 | 1199.2 | 1553.8 | 2737.6 | 3238.4 | 5636.4 |  |  | 7 | 7.2 | 7 | 7.6 | 6 | 9.4 | 16.6 | 28.6 | 36.6 | 60.2 | 30.6 | 32.8 | 30.6 | 40 | 89.6 | 119.8 | 167.2 | 287.6 | 399 | 638 | 78.6 | 82.4 | 86 | 106 | 143 | 203.2 | 326.6 | 568.6 | 621.8 | 1098.8 | 109.4 | 115.4 | 162 | 192 | 151.4 | 241.4 | 535 | 891 | 920.6 | 1633.2 | 59.4 | 67.4 | 256.4 | 296 | 376 | 495.6 | 707 | 1183.2 | 1226.4 | 2188.4 | 241.8 | 251.8 | 158 | 207.4 | 249.8 | 399.8 | 765.6 | 1360.6 | 1692.8 | 2886.8 | 125.6 | 137.4 | 314.8 | 376 | 482.4 | 660.4 | 1035 | 1754.8 | 1967.4 | 3391 | 96.4 | 111.2 | 902.4 | 973.6 | 438.2 | 651.8 | 1255.8 | 2095.4 | 2249 | 3924 | 286.2 | 302.2 | 409.4 | 490.8 | 490.2 | 730.6 | 1383 | 2338.2 | 2504.2 | 4419.6 | 244 | 262.6 | 1382.2 | 1474.6 | 635 | 901.8 | 1508.6 | 2581.2 | 2900.2 | 5051.2 | 244 | 264.2 | 1119 | 1220.6 | 1083.8 | 1385.4 | 1754.6 | 2958.8 | 3341.8 | 5732.4
V19.00.00.00_19.06.00.01 | 2019-04-01 |  |  | 7.2 | 8 | 4.6 | 5.4 | 10.4 | 13.6 | 17 | 29.4 | 34.6 | 58.8 | 34.6 | 36.6 | 30.8 | 40.2 | 111.6 | 141.4 | 175 | 294.6 | 310.8 | 548.6 | 74.4 | 78.4 | 91.8 | 111.8 | 115.8 | 176.4 | 328.4 | 568.8 | 631.2 | 1106.4 | 58.6 | 64.4 | 83.4 | 114.4 | 198.2 | 288.2 | 486 | 844.2 | 923.6 | 1635.4 | 153.4 | 161.2 | 152.4 | 192.4 | 211.2 | 333.8 | 660.4 | 1137 | 1241.6 | 2187 | 75.6 | 85.8 | 159.6 | 210.4 | 372 | 521 | 891 | 1480.4 | 1448.8 | 2628 | 272.6 | 284.4 | 299.8 | 359.2 | 340.2 | 519 | 953 | 1669.6 | 1922 | 3340 | 165.4 | 179.2 | 302 | 372.6 | 523.6 | 732.2 | 1284.4 | 2117.4 | 2294.4 | 3956 | 261.6 | 277.8 | 460.2 | 542.2 | 463.6 | 707 | 1304.8 | 2254.6 | 2353.2 | 4258.4 | 203 | 221 | 320.2 | 411 | 611.6 | 878.6 | 1591.6 | 2652.2 | 3024.8 | 5160.8 | 194 | 213.6 | 339.6 | 439.4 | 622.6 | 919.8 | 1624.8 | 2820.2 | 3080 | 5455 |  |  | 5.8 | 7 | 3.4 | 4.2 | 6.6 | 10 | 16.2 | 28.2 | 31.6 | 58.2 | 20.6 | 22.8 | 33 | 42.6 | 43.4 | 73.8 | 197 | 318.6 | 299.4 | 539.2 | 49.2 | 53.4 | 69 | 88.8 | 160.8 | 220.8 | 322.2 | 560 | 598.8 | 1080 | 71.2 | 77.2 | 127.4 | 157 | 175.4 | 265 | 550.4 | 905.8 | 859 | 1572.4 | 86 | 94 | 140 | 180 | 238.8 | 358.8 | 684.8 | 1161.6 | 1317.2 | 2279 | 55.8 | 66 | 215.6 | 265.4 | 226.8 | 377.6 | 830.4 | 1431.6 | 1526 | 2724.4 | 206.4 | 219 | 216.4 | 278.8 | 449.6 | 628.6 | 1039 | 1755.6 | 1878.2 | 3302.8 | 179.6 | 193.6 | 422.4 | 493.4 | 747.2 | 956 | 1258.6 | 2099.2 | 2189.4 | 3858.4 | 224.2 | 241 | 432 | 513.4 | 429.4 | 668.2 | 1424.6 | 2384.2 | 2454 | 4373.8 | 390.4 | 408.8 | 607.2 | 697.4 | 409.4 | 678 | 1521.8 | 2597.6 | 2985.4 | 5134.8 | 302.8 | 323.2 | 505.4 | 605.4 | 613.4 | 910.2 | 1793 | 2984 | 3236.6 | 5619.6
V19.00.00.00_19.07.00.18 | 2019-04-19 |  |  | 6.8 | 7.8 | 8 | 8.4 | 5.8 | 9.2 | 15.4 | 28.2 | 34 | 58.6 | 19.2 | 21.2 | 40.4 | 50.4 | 116.2 | 146 | 204 | 325 | 417.2 | 660.8 | 25.4 | 29.4 | 89.6 | 109.6 | 84.8 | 144.8 | 370.4 | 618.6 | 669 | 1184.6 | 102.6 | 109.2 | 131.8 | 163 | 163.4 | 254 | 545.2 | 925.6 | 924.2 | 1661.6 | 89.6 | 98 | 352.4 | 393.2 | 192.6 | 324.6 | 722.6 | 1221.8 | 1247.2 | 2231.6 | 247.6 | 257.6 | 317.6 | 370 | 274.8 | 427.4 | 845 | 1454.8 | 1595.8 | 2819.4 | 202 | 214.2 | 251.6 | 313 | 393.4 | 583.8 | 988.4 | 1724.4 | 2101.6 | 3549 | 384.6 | 398.8 | 533.2 | 606.2 | 777.8 | 990 | 1247.2 | 2116.2 | 2373.2 | 4088.6 | 399.2 | 416.8 | 532.4 | 614.4 | 672.4 | 912.8 | 1477.4 | 2456.4 | 2650.4 | 4615.2 | 149.2 | 167.8 | 364.6 | 459.6 | 644.2 | 923.8 | 1750.8 | 2852.6 | 3021.6 | 5273.4 | 210.2 | 230.8 | 610.4 | 719 | 770.4 | 1076 | 1697.8 | 2918 | 3293.2 | 5748 |  |  | 11.8 | 13 | 5.2 | 5.8 | 9.2 | 12.6 | 15.2 | 27.4 | 38.2 | 62.4 | 22.6 | 25 | 20.6 | 30.2 | 44.8 | 77.8 | 224.6 | 345.4 | 319.2 | 572 | 76.8 | 80.6 | 49.2 | 69.8 | 164.4 | 226.8 | 349.8 | 594.2 | 653.2 | 1144 | 56.4 | 62.8 | 143.2 | 174.2 | 151.6 | 242.6 | 504.6 | 868.8 | 916.2 | 1678.6 | 86.6 | 95 | 221.8 | 263.8 | 240 | 366.8 | 766.8 | 1271.8 | 1302.6 | 2294.4 | 84.4 | 94.8 | 187.8 | 240.6 | 398.6 | 557.8 | 871 | 1487.8 | 1642.2 | 2891.8 | 217.8 | 230 | 403 | 469 | 449.6 | 662.4 | 1052 | 1798.2 | 2065 | 3552.6 | 219.2 | 234.6 | 340.4 | 419.2 | 865.4 | 1093.2 | 1215.8 | 2115.6 | 2368.8 | 4085.4 | 168.2 | 185.4 | 368.8 | 452.2 | 542.2 | 784.6 | 1319.4 | 2315.2 | 2521.8 | 4525.6 | 275.8 | 296 | 479.6 | 572.2 | 584.8 | 869.8 | 1594.6 | 2707.6 | 2931.8 | 5144.6 | 235.4 | 256 | 283.4 | 387.6 | 636.2 | 963 | 1663.6 | 2902.8 | 3231.2 | 5687.2
V19.00.00.00_19.08.00.06 | 2019-05-03 | 492.1052 | 1057.0625 | 9.4 | 10.4 | 7.6 | 8.4 | 11.2 | 14.4 | 15.4 | 28.8 | 69.8 | 97.6 | 29.4 | 31.8 | 43.4 | 54.4 | 48.8 | 81.4 | 158 | 292.4 | 302.8 | 577.8 | 73.6 | 77.8 | 86 | 108 | 72.2 | 143.8 | 274.4 | 540.8 | 614.8 | 1142.4 | 83 | 89.8 | 160.8 | 193.6 | 197.8 | 297.6 | 466.2 | 864.4 | 813.4 | 1643.4 | 67 | 77.6 | 186.8 | 236.2 | 265.6 | 402 | 544.8 | 1084.6 | 1141 | 2225.4 | 159.8 | 171.6 | 186.8 | 240.8 | 176.4 | 350.2 | 844.2 | 1515.8 | 1545.2 | 2915.8 | 172.2 | 185.2 | 128.6 | 198.6 | 239 | 434.8 | 815.2 | 1609 | 1741 | 3347.2 | 225.4 | 241.6 | 206.6 | 295.4 | 348.4 | 583.8 | 1054.6 | 1999.4 | 1983 | 3888.4 | 116 | 133.6 | 481 | 583.8 | 493.8 | 774 | 1293.4 | 2370.6 | 2439.6 | 4567.4 | 355.4 | 376.4 | 559.6 | 666.6 | 510.2 | 824.8 | 1300.4 | 2513.2 | 2807.8 | 5256.2 | 238.8 | 261.8 | 279.8 | 399.6 | 454.6 | 788 | 1576.8 | 2915.2 | 2980.6 | 5669.8 | 477.0836 | 896.3086 | 17 | 17.6 | 14.2 | 15.6 | 8.8 | 12.8 | 16 | 29.6 | 33 | 61.4 | 19.4 | 22 | 69 | 79.2 | 57.8 | 93 | 148.8 | 288.4 | 294.4 | 564 | 55.8 | 60 | 105 | 127.4 | 156.8 | 224 | 297.4 | 556.4 | 624 | 1158.8 | 67.6 | 74.2 | 108 | 140.4 | 128.2 | 234.8 | 397 | 801.8 | 798.8 | 1608 | 63 | 71.6 | 190.6 | 238 | 191.8 | 332.4 | 634.4 | 1176.4 | 1178 | 2239.4 | 70.4 | 81.2 | 95.4 | 153.4 | 247.2 | 412.6 | 731.4 | 1410.4 | 1539.8 | 2877 | 224 | 237.8 | 133 | 197.2 | 241.2 | 445.2 | 936 | 1751.8 | 1794.8 | 3395 | 203 | 220 | 376.2 | 462.2 | 332.2 | 571.4 | 1049.2 | 1997.6 | 2113.8 | 4017.2 | 188.4 | 205.6 | 383.8 | 473.8 | 504.4 | 783 | 1080.6 | 2165 | 2442.8 | 4574.8 | 167 | 189.2 | 235.6 | 339.6 | 423.2 | 729.2 | 1426 | 2649.8 | 2658.8 | 5059.8 | 466.6 | 489 | 1078.6 | 1204.2 | 558.6 | 894.4 | 1580.4 | 2890.4 | 3045 | 5730.6
V19.00.00.00_19.08.00.06 | 2019-05-06 | 475.3558 | 987.2773 | 9.4 | 9.6 | 8 | 8.4 | 9.2 | 12.8 | 15.8 | 28.6 | 31.4 | 58.8 | 11.2 | 13.4 | 13.6 | 24.6 | 49.4 | 81.2 | 188.8 | 315.4 | 306.2 | 560.4 | 72.4 | 76.4 | 64.4 | 85.2 | 134.6 | 198.4 | 322.4 | 575.2 | 623.6 | 1134.6 | 60.2 | 66.6 | 254.2 | 286.8 | 160.6 | 254.6 | 445 | 822.6 | 870.6 | 1629.6 | 118 | 126.6 | 126.6 | 172.2 | 182.8 | 312 | 542.6 | 1057 | 1082 | 2111.6 | 161.8 | 172 | 414.4 | 470.6 | 239.4 | 398.8 | 760.2 | 1393 | 1480.2 | 2745.6 | 295.4 | 308.4 | 336 | 404.6 | 282.8 | 476.6 | 877.4 | 1636.2 | 1766.2 | 3284 | 112.6 | 128.6 | 200.2 | 278.2 | 501.6 | 726.4 | 1116.2 | 2002.4 | 2056 | 3826.6 | 171.6 | 189 | 239.4 | 333.8 | 577.4 | 835.6 | 1082.8 | 2114.4 | 2422.8 | 4450.6 | 188.4 | 209 | 341.4 | 436.6 | 432.6 | 722.4 | 1387.4 | 2529 | 2658.4 | 4933.4 | 243.6 | 265 | 427.4 | 540.6 | 415.6 | 735.4 | 1555.6 | 2816.6 | 3197 | 5720.6 | 455.1486 | 1031.9922 | 15.2 | 16.2 | 5.2 | 6.2 | 10.8 | 14.6 | 14.8 | 27.8 | 31.4 | 56.6 | 32 | 34.2 | 48 | 58.6 | 52.4 | 84.2 | 172.2 | 304 | 282.6 | 540.2 | 64 | 68.4 | 37 | 58.2 | 120.2 | 186.4 | 304.8 | 559.8 | 560.4 | 1069.8 | 75.4 | 82.6 | 54.6 | 88.8 | 108.8 | 205 | 423 | 800.8 | 837.8 | 1594.8 | 114.6 | 123.2 | 92.6 | 134.4 | 168.6 | 300.8 | 628.6 | 1139.4 | 1203.4 | 2217.4 | 94.4 | 105 | 198.4 | 250.8 | 295 | 458.2 | 784.8 | 1418.2 | 1431.4 | 2692.6 | 204.6 | 219 | 145.4 | 209.2 | 380.6 | 571 | 936.2 | 1695.4 | 1752.6 | 3267.8 | 152.8 | 167.6 | 150.4 | 224.4 | 273 | 496.4 | 1109.8 | 2008.2 | 2106 | 3889.4 | 295.4 | 312.8 | 843.4 | 928.2 | 377.8 | 638.4 | 1075.4 | 2097.6 | 2305 | 4330.2 | 308.2 | 327.8 | 433 | 529.8 | 631.6 | 919 | 1273.2 | 2410 | 2627.8 | 4898.6 | 149.4 | 171 | 287.4 | 393.2 | 508.6 | 825.8 | 1520.6 | 2783 | 2900 | 5417.2
V19.00.00.00_19.08.00.06 | 2019-05-07 | 466.2937 | 999.2578 | 5.2 | 8.6 | 13 | 14 | 12.6 | 15.8 | 16.2 | 28.6 | 32.6 | 60.2 | 13.8 | 15.8 | 21.4 | 32 | 38.2 | 70 | 188.6 | 314.6 | 279.2 | 533.8 | 44.4 | 48.4 | 61.8 | 83 | 98.2 | 163.8 | 310.8 | 565 | 568.4 | 1085.6 | 96.2 | 102.8 | 104.8 | 140.6 | 180.8 | 277.6 | 471.2 | 852 | 876.4 | 1635 | 71 | 80 | 150 | 192.2 | 176.8 | 307.8 | 598.2 | 1112 | 1102.2 | 2133 | 148.2 | 159 | 111.4 | 165.6 | 318.4 | 477.4 | 731.6 | 1366.2 | 1579.8 | 2845.8 | 105.6 | 118.2 | 341 | 412.4 | 228.4 | 419.2 | 885.2 | 1645.4 | 1747.2 | 3267.4 | 254.8 | 269.8 | 239.2 | 313.2 | 451.8 | 680 | 1184.2 | 2081.6 | 2142.2 | 3933.2 | 137 | 154 | 247.4 | 337.4 | 524.2 | 791 | 1206.4 | 2231.6 | 2389.6 | 4420.4 | 90.4 | 109.6 | 269.4 | 376.6 | 453.2 | 748.6 | 1274.8 | 2415.4 | 2634 | 4907.4 | 152 | 173.2 | 590.2 | 697.8 | 596.8 | 914.4 | 1449.2 | 2711.8 | 3046.2 | 5571.8 | 468.7347 | 1002.2734 | 7.8 | 8.6 | 9.6 | 10.6 | 12.4 | 15.6 | 13.8 | 26.6 | 35.4 | 61 | 12 | 14 | 16.2 | 26.8 | 50.2 | 82 | 186.6 | 325.6 | 309.8 | 565.2 | 58.6 | 62.6 | 42.8 | 64.2 | 86.2 | 151 | 329 | 583 | 594.8 | 1100.8 | 63.2 | 69.4 | 170 | 205.6 | 197 | 291.6 | 449.4 | 825.2 | 843.2 | 1597 | 55.4 | 64.4 | 124 | 169 | 199.8 | 333 | 601.8 | 1115.4 | 1061 | 2091.2 | 110.8 | 121.2 | 92.2 | 149.4 | 236.4 | 398.2 | 763.8 | 1396.8 | 1520.6 | 2786.8 | 132.4 | 145.2 | 154.8 | 218.2 | 214.2 | 405.2 | 837.6 | 1595.2 | 1712.4 | 3227 | 148.8 | 163.8 | 227.2 | 302.4 | 360 | 590.6 | 1043.4 | 1941.8 | 1994.4 | 3771.8 | 86.8 | 104.4 | 404 | 491.2 | 475.2 | 735 | 1246.8 | 2261 | 2287.4 | 4311 | 340.2 | 360.4 | 552.4 | 651 | 558.2 | 849 | 1385.2 | 2517.2 | 2597.2 | 4864.4 | 267 | 288.8 | 384.8 | 491.2 | 929.8 | 1245.2 | 1594.2 | 2853 | 3005.6 | 5527.6
V19.00.00.00_19.02.00.15 | 2019-05-29 | 0 | 0 | 6.2 | 6.8 | 11.2 | 12 | 12.6 | 15.6 | 11.8 | 38.8 | 12.2 | 73.2 | 13 | 15.4 | 87.4 | 139.8 | 160 | 430.4 | 891.8 | 1460.8 | 1022 | 1708.4 | 19 | 23.8 | 122.6 | 278 | 228.4 | 508 | 1011.8 | 1799.6 | 2220.6 | 4065.8 | 87.8 | 109 | 490.6 | 1173.4 | 361.8 | 677.4 | 1754 | 2953 | 1544 | 3609.8 | 84.4 | 110.6 | 269 | 542.2 | 791.8 | 1252 | 2270.4 | 3844.4 | 2008.8 | 5318 | 167.2 | 306.8 | 191.8 | 423.4 | 935 | 1444.2 | 2700.8 | 4810.8 | 2321.4 | 6906 | 202 | 357.6 | 164.4 | 350 | 1112.6 | 1793.8 | 1434.6 | 3429.4 | 3196.4 | 9020.4 | 75.6 | 142.4 | 562.4 | 1109.8 | 1043.2 | 1768.8 | 2252.8 | 4648.2 | 3620.6 | 11879.6 | 308 | 544 | 398.4 | 653.4 | 1214 | 1942 | 2357.4 | 5605.6 | 4222 | 14564.4 | 143.8 | 340.2 | 719.8 | 1224.6 | 1103.8 | 1885.6 | 2465.8 | 7078.8 | 4662.2 | 13639 | 325 | 819.2 | 411.8 | 706 | 1415 | 2259 | 2720 | 7054.2 | 5120.4 | 17051 | 0 | 0 | 5.8 | 6 | 8 | 8.8 | 11.8 | 15 | 11.8 | 38.4 | 12 | 72 | 13 | 15 | 173.2 | 271.4 | 102.8 | 209 | 637.8 | 1090 | 1132 | 1840.6 | 18.6 | 23.4 | 278.2 | 650.2 | 153.6 | 345.4 | 1265.2 | 1997.8 | 2148.2 | 3929 | 98.8 | 120.2 | 211.4 | 458.8 | 681.6 | 1116.8 | 1517.6 | 2587.4 | 1656.6 | 3688.2 | 201.4 | 311.4 | 359.2 | 684.4 | 669.4 | 1157.6 | 2174.6 | 3921.2 | 2513 | 5620.8 | 61.8 | 115.6 | 287.8 | 657.2 | 755.6 | 1282.8 | 2490.2 | 4661.2 | 2633 | 6730.8 | 84 | 143.8 | 228.8 | 519.4 | 905.2 | 1537 | 1656 | 3651.4 | 3094.6 | 8485.4 | 298.4 | 594.8 | 426.4 | 803.8 | 986.2 | 1720.6 | 2024.4 | 4447 | 3718.8 | 11719.6 | 262 | 530.4 | 257.6 | 565.2 | 1153.6 | 2003 | 2406 | 5607.8 | 4139.2 | 12557.8 | 300.8 | 688.6 | 316.8 | 591.2 | 1484 | 2320 | 2546.4 | 6828.8 | 4773.8 | 14614.6 | 393.4 | 731.4 | 362.6 | 669 | 1414.4 | 2233.2 | 2745.8 | 7523.6 | 5109.8 | 15439.6
[114 empty] | 0 | 0 | 6.6 | 6.8 | 9 | 9.8 | 11.8 | 15.2 | 12.2 | 38.4 | 12.4 | 75 | 13 | 15 | 190.4 | 324.4 | 270.6 | 647.6 | 636.6 | 1073.6 | 1172 | 1881.2 | 18.8 | 23.4 | 309.2 | 638.4 | 164.2 | 337.8 | 1103.6 | 1996.2 | 2207 | 3890.4 | 83.6 | 103.2 | 95.6 | 242.6 | 659.2 | 1186 | 1772.4 | 2839.8 | 1619 | 3687 | 159.6 | 266.8 | 327.2 | 705.4 | 754 | 1137.4 | 2036.8 | 3755.6 | 2191.8 | 5848.6 | 75.4 | 147.2 | 370.4 | 784.2 | 668.4 | 1126.6 | 2513.6 | 4641.2 | 2751.2 | 7152 | 246.2 | 460.6 | 562.6 | 1001.8 | 859.6 | 1458 | 1645.6 | 3637.8 | 3193.8 | 8670.4 | 149.2 | 296.2 | 332.6 | 643.4 | 965.4 | 1579.4 | 2284.8 | 4812.8 | 3751.2 | 12043.6 | 79.6 | 152.2 | 347 | 640.6 | 1100.4 | 1848 | 2378.2 | 5658.4 | 4089 | 13897.6 | 84.8 | 166 | 527.6 | 920 | 1399.2 | 2288 | 2590.8 | 6800.4 | 4647.2 | 14922.8 | 380.6 | 846 | 348 | 671.4 | 1285.2 | 2137.8 | 2748 | 7257.2 | 5013.2 | 16211.2
Forward Query Average
Reverse Query Average

## Alarm_Read_BigQuery
Alarm Query Test
Writer Client Settings
Alarms/Sec | 10
Sampling Frequency | 500msec |  |  |  | Avg-R | = Average Response Time
Number of Tags | 100 |  |  |  | Avg-Q | = Average Query Time
% Deviation | 25
% Deviation Read Reverse | 10
| AlarmReadBigQuery_Forward | [10 empty] | AlarmReadBigQuery_Reverse
|  |  |  | 180 Min |  | 300 Min |  | 480 Min |  |  |  | 180 Min |  | 300 Min |  | 480 Min
Version | Date | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q
V19.00.00.00_18.09.00.10 | 2018-08-29 |  |  | 14233.6 | 22695.8 | 22856.8 | 37011.2 | 36675.2 | 59313.2 | [9 empty] | Fast write is with 15 min. of DVS time range.
V19.00.00.00_18.09.0022 | 2018-09-19 |  |  | 14574.8 | 23090.8 | 24036.8 | 38222.8 | 37685.2 | 60370.6
V19.00.00.00_18.10.0006 | 2018-09-28 |  |  | 16601 | 25546.6 | 28373.6 | 43333.6 | 45706.6 | 69507
V19.00.00.00_18.10.00.14 | 2018-10-09 |  |  | 14172.2 | 22898.6 | 22614.8 | 37279.4 | 36675.2 | 59896
V19.00.00.00_18.10.00.14 | 2018-10-04 |  |  | 34708.6 | 43923.8 | 57438.4 | 72766.2 | 91998.8 | 116477.8 | [8 empty] | Fast write is with 60 min. of DVS time range. Alarms States generated Randomly from 1000 Alarm IDs
V19.00.00.00_18.10.00.21 | 2018-10-18 |  |  | 19115.6 | 28085 | 30740.6 | 45651 | 45627 | 69467.6
V19.00.00.00_18.11.00.09 | 2018-11-02 |  |  | 22551.4 | 31159.4 | 32146.6 | 46434 | 49065.6 | 71891
V19.00.00.00_18.11.00.20 | 2018-11-21 |  |  | 20981.6 | 29665 | 31414.8 | 45920.2 | 49590.8 | 72675.8
V19.00.00.00_18.12.00.30 | 2018-12-14 |  |  | 19936 | 28423 | 31809.8 | 46035.2 | 50625.6 | 73197.6
V19.00.00.00_19.01.00.12 | 2019-01-08 |  |  | 19997.8 | 28685.2 | 32694.4 | 47166.4 | 49289.4 | 72404.4
V19.00.00.00_19.01.00.20 | 2019-01-18 |  |  | 21687.8 | 30567.2 | 32365.8 | 46989.6 | 53015.8 | 76010.2
V19.00.00.00_19.02.00.15 | 2019-01-07 |  |  | 19587.4 | 28088.2 | 30379.8 | 44539.8 | 49278.2 | 71862 |  |  | 20395.6 | 28850.8 | 32051 | 46192.6 | 50234.6 | 72755.6
V19.00.00.00_19.03.00.10 | 2019-02-22 |  |  | 20509.6 | 28917.8 | 31460.8 | 45491.8 | 49777.2 | 72112.4 |  |  | 19962.4 | 28397.8 | 32206.4 | 46251.2 | 49875.6 | 72384
V19.00.00.00_19.04.00.07 | 2019-03-15 |  |  | 20405.4 | 28109.4 | 32599.8 | 45340.8 | 50369.6 | 70810.8 |  |  | 20493.2 | 28150.2 | 31957.4 | 44760 | 48649 | 68994.6
V19.00.00.00_19.06.00.01 | 2019-04-01 |  |  | 20160.4 | 27813 | 31021.8 | 43812.4 | 48795.2 | 69146.6 |  |  | 19962.4 | 27614 | 31170.8 | 43997 | 47096 | 67366.6
V19.00.00.00_19.07.00.18 | 2019-04-19 |  |  | 20535.6 | 28505 | 32078.6 | 45635.6 | 47380.8 | 68755.2 |  |  | 20606.4 | 28545 | 31070.8 | 44369.2 | 47407.4 | 68503
V19.00.00.00_19.08.00.06 | 2019-05-03 | 4005.5546 | 10135.5508 | 17256.6 | 26283.4 | 27352.2 | 42601.2 | 43650.4 | 67810.2 | 4355.3783 | 10430.0195 | 17651.8 | 26621.6 | 28088.6 | 43064.4 | 42871 | 66578.4
V19.00.00.00_19.08.00.06 | 2019-05-06 | 3982.4753 | 10066.3672 | 17246.8 | 25643.2 | 26685.2 | 40693 | 42465 | 64777 | 3941.1687 | 10332.875 | 16889.8 | 25250.2 | 25929.6 | 40056.4 | 42250 | 64505.6
V19.00.00.00_19.08.00.06 | 2019-05-07 | 4294.8446 | 10228.8359 | 16177.4 | 24556.2 | 27298.2 | 41281.2 | 43154 | 65426.2 | 4346.1514 | 10294.6523 | 17110.6 | 25464.2 | 27362.8 | 41324 | 43354.6 | 65595.8
V19.00.00.00_19.02.00.15 | 2019-05-29 | 0 | 0 | 1752.6 | 48417.8 | 50202.4 | 143125.2 | 66547 | 209967.4 | 0 | 0 | 1780.4 | 48092 | 50219 | 144098 | 65502 | 209137.4
Forward Query Average
Reverse Query Average

## Alarm_Read_SmallQuery
Alarm Query Test
Writer Client Settings
Alarms/Sec | 10
Sampling Frequency | 500msec |  |  |  | Avg-R | = Average Response Time
Number of Tags | 100 |  |  |  | Avg-Q | = Average Query Time
% Deviation | 25
% Deviation Read Reverse | 10
[5 empty] | Alarm_Read_SmallQuery_Forward | [11 empty] | Alarm_Read_SmallQuery_Reverse
|  |  |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min |  |  |  | 1 Min |  | 5 Min |  | 15 Min |  | 60 Min |  | 120 Min
Version | Date | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg RAM | Max RAM | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q | Avg-R | Avg-Q
V19.00.00.00_18.09.00.10 | 2018-08-29 |  |  | 1660 | 1710.6 | 1656.6 | 1901.2 | 3842.4 | 4546.4 | 6064.2 | 8875.4 | 10269.8 | 16010 | [13 empty] | Fast write is with 15 min. of DVS time range.
V19.00.00.00_18.09.0022 | 2018-09-19 |  |  | 261 | 309 | 438 | 674 | 1232 | 1941 | 5048 | 7886 | 9784 | 15448
V19.00.00.00_18.10.0006 | 2018-09-28 |  |  | 308.6 | 361.4 | 756.6 | 1000 | 1676.6 | 2399.6 | 5702.4 | 8592 | 11658.8 | 17438.4
V19.00.00.00_18.10.00.14 | 2018-10-09 |  |  | 159 | 211.8 | 701.2 | 943.2 | 1289 | 2014 | 4687 | 7585.6 | 9290.6 | 15091.8
V19.00.00.00_18.10.00.14 | 2018-10-04 |  |  | 1110.4 | 1164.6 | 1801.4 | 2058.8 | 3713.6 | 4483.8 | 12122.2 | 15199.2 | 23499.8 | 29686 | [12 empty] | Fast write is with 60 min. of DVS time range. Alarms States generated Randomly from 1000 Alarm IDs
V19.00.00.00_18.10.00.21 | 2018-10-18 |  |  | 2893.8 | 2945.6 | 3053.4 | 3296.4 | 3504.8 | 4230.6 | 8207.8 | 11110.6 | 13782 | 19592.6
V19.00.00.00_18.11.00.09 | 2018-11-02 |  |  | 2866.2 | 2915.2 | 3044.6 | 3281.4 | 3625.6 | 4335 | 8357.6 | 11181.8 | 14123.6 | 19790.2
V19.00.00.00_18.11.00.20 | 2018-11-21 |  |  | 2842.6 | 2896 | 3104.4 | 3347 | 5116.8 | 5839.2 | 8300.8 | 11197 | 14155.2 | 19937.8
V19.00.00.00_18.12.00.30 | 2018-12-14 |  |  | 3196 | 3245.4 | 3076.6 | 3313.2 | 3687.4 | 4393 | 8325.2 | 11142.8 | 14053.6 | 19688.4
V19.00.00.00_19.01.00.12 | 2019-01-08 |  |  | 3542 | 3592.6 | 3111.2 | 3349.6 | 4013.6 | 4727.2 | 8430.6 | 11275.2 | 14316.2 | 20007.4
V19.00.00.00_19.01.00.20 | 2019-01-18 |  |  | 2928.4 | 2979.4 | 3076.6 | 3315 | 3723.8 | 4446.6 | 8437.6 | 11293 | 14213 | 19929.2
V19.00.00.00_19.02.00.15 | 2019-01-07 |  |  | 2992.2 | 3042.8 | 3011.4 | 3249 | 4010.4 | 4719 | 8691 | 11519.4 | 14434 | 20077.6 |  |  | 2992.2 | 3042.8 | 3011.4 | 3249 | 4010.4 | 4719 | 8691 | 11519.4 | 14434 | 20077.6
V19.00.00.00_19.03.00.10 | 2019-02-22 |  |  | 2867.6 | 2916.4 | 2877.4 | 3111.8 | 3946.8 | 4649.4 | 8489.8 | 11300.6 | 13867.8 | 19488.8 |  |  | 2833.2 | 2882.2 | 2963.2 | 3200 | 4765.4 | 5471 | 7768.8 | 10584.2 | 14146 | 19774.6
V19.00.00.00_19.04.00.07 | 2019-03-15 |  |  | 2928.2 | 2972 | 3074.4 | 3284.8 | 3642.2 | 4281.4 | 8691.6 | 11229 | 13945.4 | 19025.4 |  |  | 2941 | 2985 | 3723.6 | 3934.2 | 3846 | 4482.4 | 8630.8 | 11171.6 | 14303.2 | 19390.4
V19.00.00.00_19.06.00.01 | 2019-04-01 |  |  | 2891.4 | 2935.6 | 2979.8 | 3189.6 | 3643.8 | 4278 | 8432.4 | 10978 | 14046.6 | 19152 |  |  | 2891.6 | 2935.2 | 3052.8 | 3262.8 | 3703 | 4338.4 | 8554.4 | 11094.4 | 14179.6 | 19261.8
V19.00.00.00_19.07.00.18 | 2019-04-19 |  |  | 2977.2 | 3022.4 | 3028.2 | 3243.6 | 3795.2 | 4447 | 8312.4 | 10931.2 | 14452.8 | 19699.6 |  |  | 2917.8 | 2965.6 | 2927 | 3162.8 | 3449.6 | 4129 | 8512.4 | 11119 | 14255.2 | 19507.6
V19.00.00.00_19.08.00.06 | 2019-05-03 | 1299.4514 | 5631.8711 | 2292.2 | 2348.6 | 2416.2 | 2662.6 | 3080.8 | 3802.2 | 7214 | 10193.4 | 11488 | 17416.2 | 1174.231 | 5888.4453 | 2315.8 | 2369 | 2428.6 | 2682.8 | 4295.8 | 5029.4 | 7066.4 | 10008 | 12229.6 | 18114
V19.00.00.00_19.08.00.06 | 2019-05-06 | 1211.3171 | 5436.7773 | 2326.4 | 2373.4 | 2345.2 | 2577.6 | 3108.8 | 3806.6 | 6869.2 | 9653.2 | 12075.8 | 17634.4 | 1167.9415 | 5352.4023 | 2491.4 | 2538.2 | 2370.8 | 2607.6 | 4688 | 5385.4 | 7006.4 | 9797.8 | 12112 | 17668.8
V19.00.00.00_19.08.00.06 | 2019-05-07 | 1116.8688 | 5530.875 | 2223.8 | 2270.6 | 2240.8 | 2474.2 | 4723 | 5425.2 | 6967.2 | 9754.4 | 12045.2 | 17618.2 | 1153.5346 | 5377.5547 | 2255 | 2302.6 | 2375.4 | 2611.4 | 3189.8 | 3889.2 | 7146.4 | 9931.6 | 12302.4 | 17871.6
V19.00.00.00_19.02.00.15 | 2019-05-29 | 0 | 0 | 637.8 | 896.2 | 172.8 | 1446.4 | 193.8 | 4040.2 | 310.4 | 15728.6 | 479.8 | 31283 | 0 | 0 | 646 | 905.2 | 170.8 | 1443.6 | 192.6 | 4027.8 | 313.4 | 15686.2 | 475.4 | 31178
Forward Query Average
Reverse Query Average